## Table 1
Parameter | Name | Value
‐ | Type of Transformer | Two Winding
‐ | Connection | Yg/Yg
S | Rated Power | 900MVA
V1 | Primary Winding Voltage | 20kV
V2 | Secondary Winding Voltage | 230kV
R | Resistance | 0.00 pu
X | Reactance | 0.15 pu
L* | Inductance (pu) | 0.00039789
L1* | Inductance of Winding 1 (pu) | 0.00019894
L2* | Inductance of Winding 2 (pu) | 0.00019894
X = wl = (2*pi*f)*L

## Table 2
X=wL=(2*pi*f)*L * Calculated Value
0.00039789
0.00019894
X = wl = (2*pi*f)*L